Radisist

FYP

Final Year Project Documentation

Umair Inayat

BS Computer Science, UMT Lahore

April 2026

# Table of Contents

Table of Contents	1

1. Executive Overview	1

1.1 What We Beat Rhazys On	1

2. Full Pipeline: Image In to Report Out	1

2.1 Step 1: Image Upload and Preprocessing	1

2.2 Step 2: Modality Routing (The Orchestration Model)	1

2.2.1 Orchestration Model Design	1

2.2.2 Orchestration Model Output	1

2.2.3 How to Achieve 95%+ Routing Accuracy	1

2.2.4 Routing Decision Logic (Pseudocode)	1

2.3 Step 3: Specialist Model Execution	1

2.4 Step 4: XAI Engine (Tiered Explainability)	1

2.5 Step 5: Uncertainty Quantification	1

2.6 Step 6: Evidence Retrieval (RAG)	1

2.7 Step 7: Report Generation (Claude API)	1

3. Analysis Types Supported	1

4. Specialist Models: Architecture Per Organ	1

4.1 General Radiologist (Foundation Model)	1

4.2 Gastrointestinal Specialist	1

4.3 Dermatology Specialist	1

4.4 Ophthalmology Specialist	1

4.5 Pulmonary / Chest X-Ray Specialist	1

4.6 Mammography Specialist	1

4.7 Cardiac Specialist	1

4.8 Histopathology Specialist	1

5. Complete Dataset Catalog	1

5.1 Modality Router Training Data	1

5.2 GI / Endoscopy Datasets	1

5.3 Dermatology Datasets	1

5.4 Ophthalmology / Retinal Datasets	1

5.5 Chest X-Ray / Pulmonary Datasets	1

5.6 Mammography Datasets	1

5.7 Cardiac Datasets	1

5.8 Musculoskeletal / Spine Datasets	1

5.9 Histopathology / Microscopy Datasets	1

5.10 Ultrasound Datasets	1

6. Orchestration Model: Complete Design	1

6.1 Architecture Choice: Why BiomedCLIP Over Alternatives	1

6.2 Training Procedure (Step by Step)	1

6.3 Specialist Selection Logic	1

6.4 Auto-Recommend Implementation	1

7. LLM Report Generation Pipeline	1

7.1 Prompt Structure	1

7.2 Critique and Self-Check	1

8. Technology Stack	1

9. 3-4 Day Execution Plan	1

Day 1: Router + 3 Specialists	1

Day 2: XAI + Uncertainty + LLM	1

Day 3: RAG + Frontend + More Specialists	1

Day 4: Polish + Evaluation + Documentation	1

10. Report Output Schema (JSON)	1

11. Rhazys vs Radisisit Comparison	1

# 1. Executive Overview

Radisist is an agentic medical AI orchestration platform that routes medical images through specialist vision models, generates explainable analysis, quantifies uncertainty, and produces RAG-grounded clinical reports. The system is designed as a multi-specialist pipeline where a single orchestrator identifies the image modality and body part, selects the appropriate specialist model, runs classification and segmentation, applies tiered explainability (XAI), and generates a structured report using Claude as the LLM backbone.

Target accuracy: 95%+ per specialist, 97%+ on modality routing

Target timeline: 3-4 days for Phase 6 alignment

Reference system: Rhazys Medical AI Platform (platform.rhazys.com)

## 1.1 What We Beat Rhazys On

- Tiered XAI (4 tiers vs their single Grad-CAM heatmap)

- Uncertainty quantification with calibrated confidence intervals

- RAG-grounded reports with clinical guideline citations

- Explainable routing (router attention maps exposed to user)

- Full audit trail with timestamped tool calls

- Multi-view fusion for mammography (CC + MLO)

# 2. Full Pipeline: Image In to Report Out

This section describes every step that occurs when a medical image enters the system, from upload to final report delivery.

## 2.1 Step 1: Image Upload and Preprocessing

The user uploads a medical image through the frontend (Next.js). The API gateway (FastAPI) receives the image, validates the file type (DICOM, PNG, JPEG), runs basic quality checks (resolution, bit depth), and stores the raw image in S3/MinIO. A preprocessing pipeline then:

- Resizes to 224x224 (for classification) and preserves the original for segmentation

- Applies CLAHE (Contrast Limited Adaptive Histogram Equalization) for contrast normalization

- Converts DICOM to standard image format if needed using pydicom

- Generates image metadata: resolution, modality hints from DICOM tags (if available), file hash for deduplication

## 2.2 Step 2: Modality Routing (The Orchestration Model)

This is the critical orchestration step. The system must determine: what modality is this image (endoscopy, X-ray, mammography, etc.), what body part it shows, and which specialist model should analyze it.

### 2.2.1 Orchestration Model Design

The orchestrator is a TWO-STAGE classifier, not a single model:

Stage 1: BiomedCLIP Modality Classifier

BiomedCLIP (from Microsoft Research) is a contrastive language-image model pretrained on 15 million biomedical image-text pairs from PubMed. It is the best available foundation model for medical image understanding.

How to use it for routing:

- Fine-tune BiomedCLIP image encoder on a balanced modality dataset (details in Section 5)

- Add a linear classification head: BiomedCLIP features (512-d) to 9 modality classes

- Training: 20 epochs, AdamW optimizer, lr=1e-4 with cosine annealing, batch size 32

- Output: modality label + confidence score + top-3 alternatives + attention heatmap

The 9 modality classes (matching Rhazys):

- Endoscopy

- Dermoscopy

- X-Ray

- Ultrasound

- Mammography

- Fundus

- Microscopy (Histopathology)

- Digital Camera (Clinical Photography)

- Retinography

Stage 2: Body-Part and View Classifier

A small ViT-B/16 fine-tuned on RadImageNet body-part labels. This runs only after Stage 1 identifies the modality. For mammography, it additionally classifies CC vs MLO view and Left vs Right breast.

Stage 3: OOD (Out-of-Distribution) Gate

Mahalanobis distance on penultimate-layer features. If the image is far from the training distribution (distance > threshold), the system routes to the General Radiologist with a warning flag: 'Low confidence modality match. Human review recommended.'

### 2.2.2 Orchestration Model Output

The orchestration model produces an output identical to Rhazys' 'Auto-Recommend' feature:

Example output:

- Model: Gastrointestinal Specialist

- Analysis: segmentation

- Modality: Endoscopy

- Body Part: abdomen

- Confidence: 0.96

- Router attention map: [heatmap showing which image regions drove the routing decision]

### 2.2.3 How to Achieve 95%+ Routing Accuracy

To reach 97-99% accuracy on modality routing:

- Assemble a balanced dataset: 2,000-3,000 images per modality from the datasets listed in Section 5. Total: approximately 20,000 images.

- Use BiomedCLIP (not regular CLIP) as the backbone. BiomedCLIP outperforms general CLIP by 15-20% on medical tasks.

- Fine-tune only the last 4 transformer blocks + the classification head. Freeze earlier layers.

- Apply aggressive augmentation: random rotation (up to 30 degrees), horizontal/vertical flip, color jitter, random erasing, CutMix.

- Use 5-fold cross-validation to estimate generalization accuracy before deployment.

- Add a temperature-scaled softmax for calibrated confidence. Post-hoc calibration using Platt scaling on the validation set.

### 2.2.4 Routing Decision Logic (Pseudocode)

def route(image):

modality, conf, attn = clip_router(image)

if conf < 0.75: return GeneralRadiologist(reason='low_confidence')

if is_ood(image): return GeneralRadiologist(reason='ood')

body_part, view = body_part_router(image, modality)

specialist = SPECIALIST_MAP[modality]

return specialist(body_part=body_part, view=view, router_attention=attn, router_confidence=conf)

## 2.3 Step 3: Specialist Model Execution

Once routed, the image enters the specialist pipeline. Each specialist runs TWO models in parallel:

Classification model: EfficientNet-B4 (or ConvNeXt for some modalities) that outputs disease labels with probabilities.

Segmentation model: U-Net++ or Attention U-Net that outputs pixel-level masks of lesions, organs, or abnormal regions.

Both models run simultaneously on the GPU. Their outputs are combined: the segmentation mask localizes WHERE the finding is, and the classification model says WHAT it is.

## 2.4 Step 4: XAI Engine (Tiered Explainability)

After the specialist produces predictions, the XAI engine generates explanations at multiple levels of granularity:

Tier 1 (Pixel-level, always runs, fast): Grad-CAM++, ScoreCAM, Integrated Gradients. These produce heatmaps showing which pixels influenced the prediction. Equivalent to what Rhazys shows.

Tier 2 (Perturbation-based, on demand): Kernel SHAP, LIME, RISE. These mask or perturb regions of the image and measure how the prediction changes. More faithful than Tier 1 but slower.

Tier 3 (Concept-level, research tier): UnCLE framework (SAM-based concept extraction, Blended Latent Diffusion perturbation). TCAV using radiology concepts (spiculation, microcalcification, etc.). This tier explains in human-understandable concepts.

Tier 4 (Counterfactual): What minimal change to the image would flip the diagnosis? Uses a diffusion model to generate counterfactual images. Also runs insertion/deletion curves and faithfulness scores.

Each tier has a faithfulness score computed via insertion/deletion AUC, pointing game, and sanity checks. Users see not just the heatmap but a number telling them how trustworthy the explanation is.

## 2.5 Step 5: Uncertainty Quantification

Every prediction includes calibrated uncertainty:

- Monte Carlo Dropout: 30 forward passes with dropout active. Report mean prediction and standard deviation.

- Conformal Prediction: Returns a prediction set with guaranteed coverage (e.g., 'diagnosis is in {malignant, benign} with 95% confidence').

- OOD Detection: Mahalanobis distance flags when the image is outside the training distribution.

Display format: 'Confidence: 87% plus or minus 4% | Prediction set: {BI-RADS 4a, 4b} at 95% coverage | OOD score: 0.12 (in-distribution)'

## 2.6 Step 6: Evidence Retrieval (RAG)

Before generating the final report, the system retrieves relevant clinical guidelines:

- Extract key findings from the specialist output (e.g., 'polyp detected', 'irregular margins', 'DR grade 3').

- Convert findings to a search query using BioClinicalBERT embeddings.

- Search the vector database (Qdrant) for relevant guideline passages from: ACR BI-RADS Atlas, NICE clinical guidelines, relevant PubMed abstracts.

- Return top-5 passages with citation metadata.

## 2.7 Step 7: Report Generation (Claude API)

The LLM (Claude Sonnet 4.6) receives a structured prompt containing:

- The specialist model's classification output (disease labels + probabilities)

- The segmentation mask summary (location, size, shape descriptors)

- The XAI artifacts (heatmap descriptions, concept explanations)

- The uncertainty metrics (confidence, prediction set, OOD flag)

- The retrieved evidence passages with citations

- The patient context (if available: prior studies, demographics)

Claude generates a structured JSON report with these fields:

- priority: High / Medium / Low (derived from confidence + severity)

- pipeline_applied: list of models and tools that ran

- ai_reasoning_process: SELECTING (router decision), OBSERVING (preprocessing), ANALYZING (findings)

- key_findings: list of findings with location, evidence, and uncertainty

- clinical_recommendations: list of recommendations with citations to guidelines

- audit_trail: timestamped log of every tool call, model inference, and decision

A CRITIQUE step follows: a second Claude call reviews the report against the retrieved evidence, checking for hallucinations, unsupported claims, and consistency with the model outputs. If the critique finds issues, the report is regenerated.

# 3. Analysis Types Supported

Each analysis type maps to a different configuration of the specialist pipeline:

| Analysis Type | What It Does | Models Used | Output |
| --- | --- | --- | --- |
| Report Generation | Full structured medical report | Classifier + Segmenter + XAI + Claude | JSON report with citations |
| Disease Classification | Identify and classify conditions | EfficientNet-B4 classifier | Disease labels + probabilities |
| Organ Segmentation | Map precise anatomical structure | U-Net++ / Attention U-Net | Pixel-level segmentation masks |
| Abnormality Detection | Detect anomalies and lesions | Classifier + Grad-CAM | Bounding boxes + heatmaps |
| Severity Assessment | Quantify condition severity | Classifier + ordinal regression head | Severity grade + confidence |
| Multilabel Classification | Identify multiple conditions | EfficientNet-B4 with sigmoid output | Multiple labels + probabilities |
| Instance Detection | Localize visual instances (future) | YOLO / Faster R-CNN (future scope) | Bounding boxes + labels |

# 4. Specialist Models: Architecture Per Organ

Each specialist uses the same two-model pattern (classifier + segmenter) but fine-tuned on organ-specific data:

## 4.1 General Radiologist (Foundation Model)

Role: Fallback for low-confidence routing; multi-modal general analysis

Classification backbone: BiomedCLIP or RadDINO (pretrained on RadImageNet, 1.35M images, 11 modalities)

Segmentation backbone: SAM 2 (Segment Anything Model 2, zero-shot segmentation)

When used: OOD images, low-confidence routing, unknown modalities

Expected accuracy: 85-90% across modalities (generalist trade-off)

## 4.2 Gastrointestinal Specialist

Modality: Endoscopy

Classification: EfficientNet-B4 fine-tuned on HyperKvasir + GastroVision (8 GI conditions)

Segmentation: U-Net trained on Kvasir-SEG + CVC-ClinicDB (polyp masks)

Target accuracy: 95%+ classification, 90%+ Dice on segmentation

## 4.3 Dermatology Specialist

Modality: Dermoscopy, Digital Camera

Classification: EfficientNet-B3 + ConvNeXt-Small ensemble fine-tuned on ISIC 2019 + HAM10000

Segmentation: U-Net fine-tuned on ISIC lesion segmentation masks

Target accuracy: 93%+ classification (7 classes), 88%+ Dice

## 4.4 Ophthalmology Specialist

Modality: Fundus, Retinography

Classification: EfficientNet-B4 fine-tuned on EyePACS + APTOS (DR grading) + RFMiD (multi-disease)

Segmentation: U-Net fine-tuned on REFUGE (disc/cup segmentation for glaucoma) + DRIVE (vessel segmentation)

Target accuracy: 95%+ DR grading, 92%+ Dice on disc/cup

## 4.5 Pulmonary / Chest X-Ray Specialist

Modality: X-Ray

Classification: DenseNet-121 (CheXNet architecture) fine-tuned on CheXpert + NIH ChestX-ray14

Segmentation: U-Net fine-tuned on RSNA Pneumonia (lung field + opacity segmentation)

Target accuracy: AUC 0.93+ on 14 conditions

## 4.6 Mammography Specialist

Modality: Mammography

Classification: EfficientNet-B4 + ConvNeXt ensemble fine-tuned on CBIS-DDSM + VinDr-Mammo

Segmentation: U-Net++ fine-tuned on CBIS-DDSM ROI masks + INbreast

Multi-view: Dual-branch network fusing CC + MLO views (attention-based fusion)

Target accuracy: AUC 0.95+ on malignancy detection

## 4.7 Cardiac Specialist

Modality: Ultrasound (echocardiography), MRI

Classification: EfficientNet-B4 fine-tuned on ACDC + echocardiography datasets

Segmentation: U-Net fine-tuned on ACDC (LV/RV/MYO segmentation)

Target accuracy: Dice 0.92+ on cardiac segmentation

## 4.8 Histopathology Specialist

Modality: Microscopy

Classification: ConvNeXt or CTransPath fine-tuned on PatchCamelyon + BACH

Segmentation: HoVer-Net for cell/nuclei segmentation

Target accuracy: AUC 0.98+ on metastasis detection (PatchCamelyon)

# 5. Complete Dataset Catalog

Every dataset you need to train each specialist, plus the modality router. Organized by organ/modality.

## 5.1 Modality Router Training Data

Sample 2,000-3,000 images from each of the following datasets. Total: approximately 20,000 images for a balanced 9-class modality classifier.

| Modality | Source Dataset | Images to Sample |
| --- | --- | --- |
| Endoscopy | HyperKvasir | 2,500 |
| Dermoscopy | ISIC 2019 | 2,500 |
| X-Ray | NIH ChestX-ray14 + VinDr-SpineXR | 2,500 |
| Ultrasound | Breast Ultrasound (BUSI) + fetal US datasets | 2,000 |
| Mammography | CBIS-DDSM + VinDr-Mammo | 2,500 |
| Fundus | EyePACS | 2,500 |
| Microscopy | PatchCamelyon | 2,500 |
| Digital Camera | Fitzpatrick17k + clinical photo datasets | 2,000 |
| Retinography | RFMiD | 2,000 |

## 5.2 GI / Endoscopy Datasets

| Dataset | Size | Task | Access |
| --- | --- | --- | --- |
| HyperKvasir | 110,079 images + videos | Classification (23 classes) + segmentation | Open (Simula) |
| Kvasir-v2 | 8,000 images | Classification (8 GI classes) | Open |
| Kvasir-SEG | 1,000 polyp images | Pixel-level polyp segmentation | Open |
| CVC-ClinicDB | 612 images | Polyp segmentation benchmark | Open |
| ETIS-Larib | 196 images | Polyp detection (test set) | Open |
| GastroVision | 8,000+ images | 27 GI conditions (2023 release) | Open |
| EDD2020 | 386 images | 5 classes (artifact, bubbles, polyps, etc.) | Open (challenge) |

Training recipe: HyperKvasir for classification pretraining, Kvasir-SEG + CVC-ClinicDB combined for segmentation fine-tuning. Validate on ETIS-Larib.

## 5.3 Dermatology Datasets

| Dataset | Size | Task | Access |
| --- | --- | --- | --- |
| HAM10000 | 10,015 images | 7 skin lesion classes | Open (Harvard Dataverse) |
| ISIC 2020 | 33,126 images | Melanoma vs benign (binary) | Open (ISIC Archive) |
| ISIC 2019 | 25,331 images | 8 disease classes + metadata | Open |
| DermNet | 23,000 images | 23 skin condition classes | Open |
| Fitzpatrick17k | 16,577 images | Skin-tone-diverse labels (fairness) | Open |
| PAD-UFES-20 | 2,298 images | Smartphone-captured skin lesions | Open |
| ISIC Segmentation | 2,594 images | Lesion boundary masks | Open |

Training recipe: ISIC 2019 + HAM10000 combined for classification. Add Fitzpatrick17k for skin-tone fairness. ISIC Segmentation for U-Net masks.

## 5.4 Ophthalmology / Retinal Datasets

| Dataset | Size | Task | Access |
| --- | --- | --- | --- |
| EyePACS (Kaggle DR) | 88,702 images | Diabetic retinopathy, 5 grades | Kaggle |
| APTOS 2019 | 3,662 images | DR grading (5 classes) | Kaggle |
| RFMiD | 3,200 images | 46 retinal diseases (multi-label) | Open (IEEE) |
| REFUGE | 1,200 images | Glaucoma + disc/cup segmentation | Open (REFUGE challenge) |
| Messidor-2 | 1,744 images | DR grading reference | Open (ADCIS) |
| ODIR-5K | 5,000 patients (10k images) | 8 ocular disease categories | Open (Kaggle) |
| DRIVE | 40 images | Retinal vessel segmentation | Open |
| STARE | 20 images | Retinal vessel segmentation | Open |

Training recipe: EyePACS + APTOS for DR classification. REFUGE for glaucoma segmentation. RFMiD for multi-disease classification. DRIVE for vessel segmentation.

## 5.5 Chest X-Ray / Pulmonary Datasets

| Dataset | Size | Task | Access |
| --- | --- | --- | --- |
| NIH ChestX-ray14 | 112,120 images | 14 disease labels (multi-label) | Open (NIH) |
| CheXpert | 224,316 images | 14 observations with uncertainty labels | Open (Stanford) |
| MIMIC-CXR | 377,110 images | 14 labels + radiology reports (gold for RAG) | PhysioNet (credentialed) |
| VinDr-CXR | 18,000 images | 22 findings with bounding boxes | Open (VinBigData) |
| PadChest | 160,000 images | Multi-label, 174 classes | Open (BIMCV) |
| RSNA Pneumonia | 30,000 images | Pneumonia detection + bounding boxes | Kaggle |

Training recipe: CheXpert for classification pretraining (large + uncertainty labels). Fine-tune on VinDr-CXR for localization. Use MIMIC-CXR reports to build your RAG knowledge base.

## 5.6 Mammography Datasets

| Dataset | Size | Task | Access |
| --- | --- | --- | --- |
| CBIS-DDSM | 2,620 cases, approx 10k images | Benign/malignant, CC+MLO, ROI masks, BI-RADS | Open (TCIA) |
| INbreast | 410 images, 115 cases | High-resolution, BI-RADS, mass + calcification | Open (signed agreement) |
| VinDr-Mammo | 5,000 exams, 20,000 images | BI-RADS, 14 finding classes, bounding boxes | Open (VinBigData) |
| MIAS (mini-MIAS) | 322 images | Background tissue class, abnormality type | Open |
| RSNA Screening Mammography | 54,000 images | Cancer labels (Kaggle 2023 competition) | Kaggle |
| OPTIMAM | 173,000 images | UK screening program | Apply for access |

Training recipe: CBIS-DDSM + VinDr-Mammo for classification + ROI segmentation. Fine-tune on INbreast for high-resolution detail. RSNA for large-scale validation. Multi-view: use CBIS-DDSM paired CC+MLO images for dual-branch fusion training.

## 5.7 Cardiac Datasets

| Dataset | Size | Task | Access |
| --- | --- | --- | --- |
| ACDC | 150 patients | Cardiac MRI segmentation (LV, RV, MYO) | Open (ACDC challenge) |
| M and Ms | 375 patients | Multi-vendor cardiac MRI segmentation | Open (MICCAI challenge) |
| Sunnybrook Cardiac | 45 patients | Cine MRI, LV segmentation | Open |
| EchoNet-Dynamic | 10,030 echo videos | Ejection fraction estimation | Open (Stanford) |
| CAMUS | 500 patients | 2D echo, 2-chamber and 4-chamber segmentation | Open |

Training recipe: ACDC + M&Ms for MRI segmentation. EchoNet-Dynamic for echocardiography classification. CAMUS for echo segmentation.

## 5.8 Musculoskeletal / Spine Datasets

| Dataset | Size | Task | Access |
| --- | --- | --- | --- |
| VinDr-SpineXR | 10,469 images | Spine X-ray, 13 finding types | Open |
| MRNet | 1,370 knee MRIs | ACL tear, meniscus tear detection | Open (Stanford) |
| RSNA Cervical Spine Fracture | 2,019 CT scans | Fracture detection + localization | Kaggle |
| MURA | 40,561 images | Musculoskeletal abnormality (7 body parts) | Open (Stanford) |

## 5.9 Histopathology / Microscopy Datasets

| Dataset | Size | Task | Access |
| --- | --- | --- | --- |
| PatchCamelyon | 327,680 patches | Breast cancer metastasis detection | Open |
| BACH | 400 whole-slide images | Breast cancer histology (4 classes) | Open (ICIAR challenge) |
| Camelyon16/17 | 1,399 whole-slide images | Lymph node metastasis detection | Open (challenge) |
| TCGA (multiple organs) | Thousands of WSIs | Multi-organ, multi-cancer | Open (GDC portal) |
| BRACS | 4,539 ROIs | Breast lesion classification (7 classes) | Open |

## 5.10 Ultrasound Datasets

| Dataset | Size | Task | Access |
| --- | --- | --- | --- |
| BUSI | 780 images | Breast ultrasound (normal, benign, malignant) | Open |
| BUS-BRA | 1,875 images | Breast ultrasound segmentation | Open |
| Thyroid Ultrasound (TDID) | 637 images | Thyroid nodule detection | Open |
| Fetal Planes (HC18) | 999+ images | Fetal head circumference | Open (challenge) |

# 6. Orchestration Model: Complete Design

This section provides the detailed architecture and training procedure for the orchestration model that achieves 95%+ accuracy.

## 6.1 Architecture Choice: Why BiomedCLIP Over Alternatives

| Option | Accuracy (expected) | Pros | Cons |
| --- | --- | --- | --- |
| Zero-shot CLIP (OpenAI) | 70-80% | No training needed | Not medical-domain; poor on X-ray vs CT |
| Zero-shot BiomedCLIP | 80-88% | Medical pretrained; quick start | Not fine-tuned for your modalities |
| Fine-tuned BiomedCLIP (recommended) | 95-99% | Best medical CLIP; 15M PubMed pairs | Needs 20k balanced images; 4-6 hours on T4 |
| Train CNN from scratch | 88-93% | Full control | Needs more data; no transfer learning benefit |
| ResNeXt-101 (what Rhazys uses) | 92-96% | Strong backbone | Heavier; slower inference; no zero-shot fallback |

BiomedCLIP is the clear winner for your use case. It gives you zero-shot capability as a fallback AND the best fine-tuned performance with minimal data.

## 6.2 Training Procedure (Step by Step)

Follow this exact procedure to train the orchestration model:

- Download datasets: Get HyperKvasir, ISIC 2019, NIH ChestX-ray14, BUSI, CBIS-DDSM, EyePACS, PatchCamelyon, Fitzpatrick17k, RFMiD.

- Sample balance: Extract exactly 2,000 images per modality. Resize all to 224x224. Apply stratified sampling if classes are imbalanced within a dataset.

- Split: 70% train / 15% validation / 15% test. Stratified by modality.

- Load BiomedCLIP: Use the open_clip library. Model: 'hf-hub:microsoft/BiomedCLIP-PubMedBERT_256-vit_base_patch16_224'.

- Add classification head: Linear(512, 9) on top of the CLIP image encoder. Freeze layers 0-8 of the ViT. Fine-tune layers 9-11 + classification head.

- Training config: AdamW, lr=1e-4, weight_decay=0.01, cosine annealing to 1e-6, batch size 32, 20 epochs, mixed precision (AMP), gradient accumulation 2.

- Augmentation: RandomResizedCrop(224), RandomHorizontalFlip, RandomVerticalFlip, ColorJitter(0.2, 0.2, 0.2, 0.1), RandomRotation(30), RandomErasing(p=0.1).

- Loss: CrossEntropyLoss with label smoothing=0.1.

- Validation: Track accuracy, macro F1, per-class precision/recall. Save best model by validation macro F1.

- Post-hoc calibration: After training, run Platt scaling (temperature scaling) on the validation set to calibrate confidence scores.

## 6.3 Specialist Selection Logic

The orchestrator maps modality labels to specialists:

| Detected Modality | Specialist Model | Fallback If Low Confidence |
| --- | --- | --- |
| Endoscopy | GI Specialist (EfficientNet-B4 + U-Net) | General Radiologist |
| Dermoscopy | Dermatology Specialist (EfficientNet-B3 + U-Net) | General Radiologist |
| Digital Camera | Dermatology Specialist (same as dermoscopy) | General Radiologist |
| X-Ray | Pulmonary Specialist (DenseNet-121 + U-Net) | General Radiologist |
| Ultrasound | Cardiac Specialist or General (body-part dependent) | General Radiologist |
| Mammography | Mammography Specialist (EfficientNet-B4 + U-Net++) | General Radiologist |
| Fundus | Ophthalmology Specialist (EfficientNet-B4 + U-Net) | General Radiologist |
| Retinography | Ophthalmology Specialist (same as fundus) | General Radiologist |
| Microscopy | Histopathology Specialist (ConvNeXt + HoVer-Net) | General Radiologist |

## 6.4 Auto-Recommend Implementation

The 'Auto-Recommend Model and Analysis' feature runs the following pipeline in under 500ms:

- BiomedCLIP classifies the modality (50ms on GPU)

- Body-part ViT classifies the body part (30ms)

- A rule engine maps (modality, body_part) to the best (specialist, analysis_type) pair

- Return the recommendation to the UI

Rule engine example:

If modality = 'Endoscopy' and body_part = 'abdomen': recommend GI Specialist + segmentation

If modality = 'Fundus' and body_part = 'eye': recommend Ophthalmologist + classification

If modality = 'Mammography' and view = 'CC+MLO': recommend Mammography Specialist + classification + multi-view fusion

The analysis type recommendation considers: if the specialist has a strong segmentation model for this body part, recommend segmentation. If it only has classification, recommend classification. If both are strong, recommend the full pipeline (classification + segmentation + XAI + report).

# 7. LLM Report Generation Pipeline

This section details exactly how the LLM (Claude) generates the structured medical report.

## 7.1 Prompt Structure

The Claude API receives a single structured prompt containing all context. The prompt uses XML tags for clear section separation:

<system> You are a medical AI report generator. You produce structured clinical reports based on AI model outputs. Every recommendation MUST cite a specific guideline. Never speculate beyond what the models detected. </system>

<modality> Endoscopy </modality>

<body_part> Abdomen, gastrointestinal tract </body_part>

<specialist> GI Specialist (EfficientNet-B4, 92.8% accuracy) </specialist>

<classification_output> Polyp detected (0.89), Inflammation (0.67), Normal mucosa (0.12) </classification_output>

<segmentation_output> Lesion mask: 3 regions detected. Region 1: 12x8mm, irregular margins. Region 2: 5x5mm, smooth margins. Region 3: 3x3mm, sessile. </segmentation_output>

<xai_summary> Grad-CAM highlights concentrated on Region 1 (faithfulness: 0.82). SHAP values indicate margin irregularity is the primary feature for polyp classification. </xai_summary>

<uncertainty> Confidence: 89% +/- 4%. Prediction set at 95%: {Polyp, Adenoma}. OOD score: 0.08 (in-distribution). </uncertainty>

<evidence> [1] ESGE guidelines 2019: Polyps >10mm with irregular margins should be referred for polypectomy. [2] Paris classification: 0-Is (sessile) polyps carry 1-2% malignancy risk at <10mm. </evidence>

<instructions> Generate a JSON report with: priority, pipeline_applied, ai_reasoning_process (3 steps: selecting, observing, analyzing), key_findings (each with location and evidence), clinical_recommendations (each with citation), and audit_trail. </instructions>

## 7.2 Critique and Self-Check

After the initial report is generated, a second Claude call reviews it:

<system> You are a medical report auditor. Check the report against the provided evidence. Flag any claim not supported by the model output or retrieved guidelines. Flag any hallucination. Return a list of issues or 'APPROVED' if clean. </system>

If the critique returns issues, the report is regenerated with the issues flagged. This loop runs at most 2 times to prevent infinite iteration.

# 8. Technology Stack

| Layer | Technology | Purpose |
| --- | --- | --- |
| Frontend | Next.js 15 + Tailwind CSS + shadcn/ui | UI: upload, workflow builder, analysis viewer, chat |
| Backend API | FastAPI (Python 3.11) | REST + WebSocket, request validation, auth |
| Orchestration | LangGraph | Agentic state machine, tool routing |
| LLM | Claude Sonnet 4.6 (Anthropic API) | Report generation, critique, consultation chat |
| Vision Models | PyTorch + Ultralytics + timm | EfficientNet, U-Net, ConvNeXt, DenseNet |
| Foundation Model | BiomedCLIP (Microsoft) | Modality router backbone |
| XAI | Captum + custom (Grad-CAM, SHAP, LIME) | Explainability engine |
| Vector DB | Qdrant | Evidence retrieval (RAG) |
| Embeddings | BioClinicalBERT / MedCPT | Medical text embeddings for RAG |
| Model Serving | Triton Inference Server + TensorRT | Multi-model GPU serving |
| Storage | S3/MinIO (images) + PostgreSQL (metadata) | Persistent storage |
| Tracing | OpenTelemetry + Jaeger | Audit trail, latency monitoring |
| DICOM | pydicom + Cornerstone.js | Medical image format support |
| Auth | Supabase Auth or Auth0 | User management, RBAC |
| Deploy | Docker Compose (dev), Kubernetes (prod) | Container orchestration |

# 9. 3-4 Day Execution Plan

Given the tight timeline, here is the prioritized execution plan. Focus on getting the core pipeline working end-to-end first, then iterate.

## Day 1: Router + 3 Specialists

- Morning: Download BiomedCLIP. Set up the modality router with zero-shot prompts (gets you 80-85% accuracy immediately). Set up FastAPI skeleton with upload endpoint.

- Afternoon: Download pretrained EfficientNet-B4 weights. Fine-tune on Kvasir-v2 (GI), HAM10000 (derm), and APTOS (retinal). Use transfer learning; 10-15 epochs each on T4 GPU.

- Evening: Wire up U-Net segmentation for GI (Kvasir-SEG pretrained weights available). Test end-to-end: upload image, route to specialist, get classification + segmentation output.

## Day 2: XAI + Uncertainty + LLM

- Morning: Integrate Grad-CAM++ and SHAP from your existing XAI package. Wire them into the specialist pipeline so every prediction gets a heatmap.

- Afternoon: Add MC Dropout uncertainty. Enable dropout at inference, run 30 passes, compute mean and std. Add depth map generation using MiDaS (pretrained, no training needed).

- Evening: Set up Claude API integration. Build the structured prompt template. Test report generation on the GI specialist output. Implement the critique loop.

## Day 3: RAG + Frontend + More Specialists

- Morning: Set up Qdrant. Index BI-RADS atlas and ESGE guidelines as your first knowledge base. Wire the evidence retriever into the report pipeline.

- Afternoon: Build the Next.js frontend: upload panel, analysis type selector, model selector, results viewer with heatmap overlay. Use shadcn/ui for fast component assembly.

- Evening: Add chest X-ray specialist (CheXNet weights available pretrained) and mammography specialist (if time allows). Test all analysis types.

## Day 4: Polish + Evaluation + Documentation

- Morning: Fine-tune the BiomedCLIP router on the balanced modality dataset (if not done on Day 1). This pushes routing accuracy from 85% to 97%+.

- Afternoon: Run evaluation: per-specialist accuracy, XAI faithfulness scores (insertion/deletion AUC), report quality check. Fix edge cases.

- Evening: Final testing, bug fixes, deploy with Docker Compose. Prepare thesis demo.

# 10. Report Output Schema (JSON)

Every analysis produces a JSON report with this exact structure:

{

"report_id": "uuid",

"timestamp": "2026-04-22T14:30:00Z",

"priority": "Medium",

"modality": "Endoscopy",

"body_part": "abdomen",

"specialist": "Gastrointestinal Specialist",

"specialist_accuracy": 0.928,

"confidence": 0.89,

"confidence_ci": [0.85, 0.93],

"ood_flag": false,

"pipeline_applied": [

{"name": "EfficientNet-B4", "type": "model", "task": "classification"},

{"name": "U-Net", "type": "model", "task": "segmentation"},

{"name": "Grad-CAM++", "type": "tool", "task": "explainability"},

{"name": "Kernel SHAP", "type": "tool", "task": "explainability"}

],

"ai_reasoning_process": {

"selecting": {"model_selector": "BiomedCLIP", "routed_to": "GI Specialist", "confidence": 0.96},

"observing": {"preprocessor": "CLAHE + resize", "image_quality": "good"},

"analyzing": {"classification": {...}, "segmentation": {...}}

},

"key_findings": [

{"text": "...", "location": {...}, "xai_artifacts": [...], "faithfulness": 0.82, "uncertainty": {...}}

],

"clinical_recommendations": [

{"text": "...", "citations": [{"source": "ESGE 2019", "section": "3.2.1"}]}

],

"audit_trail": [

{"step": "route", "tool": "BiomedCLIP", "latency_ms": 48, "output": "Endoscopy (0.96)"},

{"step": "classify", "tool": "EfficientNet-B4", "latency_ms": 35, "output": "Polyp (0.89)"},

{"step": "segment", "tool": "U-Net", "latency_ms": 142},

{"step": "explain", "tool": "Grad-CAM++", "latency_ms": 22},

{"step": "explain", "tool": "SHAP", "latency_ms": 890},

{"step": "retrieve", "tool": "RAG-Qdrant", "latency_ms": 120},

{"step": "report", "tool": "Claude Sonnet 4.6", "latency_ms": 2400},

{"step": "critique", "tool": "Claude Sonnet 4.6", "latency_ms": 1800, "result": "APPROVED"}

]

}

# 11. Rhazys vs Radisist Comparison

| Feature | Rhazys | Radisist (Ours) |
| --- | --- | --- |
| Modality router | Black-box (no explanation) | BiomedCLIP with attention maps exposed |
| Specialist models | EfficientNet-B4 + U-Net | Same backbone + ensemble options (ConvNeXt, DenseNet) |
| XAI | Single Grad-CAM heatmap | 4-tier: pixel, perturbation, concept, counterfactual |
| Faithfulness eval | None | Insertion/deletion AUC, pointing game, sanity checks |
| Uncertainty | 'Medium Priority' label (no calibration) | MC Dropout + Conformal Prediction + OOD detection |
| Report grounding | LLM-only (hallucination risk) | RAG with BI-RADS, ESGE, NICE citations |
| Self-check | None | Critique loop: 2nd LLM pass validates report |
| Multi-view | Single image only | CC+MLO dual-branch fusion for mammography |
| Audit trail | Narrated steps (cosmetic) | Timestamped tool calls with latency (real telemetry) |
| Modalities | 9 | 9 (same) + histopathology (bonus) |
| Orchestration | ResNeXt-101 | BiomedCLIP (lighter, more accurate, medical-pretrained) |

End of Document